## PNE
22 | 6 |  | 999 | 인덱스 |  | 0 | 1
38 | 40 |  | 누적 step 시간 (s) | CV시간 (s) |  | 2 | 3
1 | 2 |  |  | 전압 (mV) |  | 4 | 5
3 | 36 |  | 전류 (mA) 부호있음 | 누적충방전용량 mAh (부호있음) |  | 6 | 7
26 | 27 |  |  | 충전용량 mAh |  | 8 | 9
11 | 37 |  | 방전용량 mAh | 누적 mWh (부호있음) |  | 10 | 11
34 | 35 |  |  | 충전 Wh |  | 12 | 13
23 | 24 |  | 방전 Wh | Step 평균 전류? mA (부호있음) |  | 14 | 15
12 | 4 |  | Step 평균 전압? (mV) | 온도 (현재 시간) |  | 16 | 17
10 | 25 |  |  | mW (부호있음) |  | 18 | 19
33 | 41 |  |  |  |  | 20 | 21
50 | 42 |  |  | 25도? |  | 22 | 23
44 | 45 |  |  | CC 충전 용량 유사 |  | 24 | 25
46 | 47 |  | CV 평균전류? | 누적방전용량 mAh |  | 26 | 27
75 | 76 |  |  | 0.907 |  | 28 | 29
77 | 78 |  | 0.952 | CV 관련 |  | 30 | 31
79 | 73 |  | CV 관련 | CV 관련 |  | 32 | 33
74 | 48 |  | 정체불명의 온도1 (차가움) | 정체불명의 온도2 (따뜻함) |  | 34 | 35
|  |  | YYMMDD | ? |  | 36 | 37
|  |  | 2 |  |  | 38 | 39
|  |  | 25도? | 999 |  | 40 | 41
|  |  | 999 | 999 |  | 42 | 43
194049376
|  |  |  | 194049776 | 400
|  |  |  | 194050368 | 592
|  |  |  | 220541568 | 26491200
26491.2
|  | CYC: | 헤더 106 * 4 바이트
|  |  | 인덱스 |  |  | 0 | 1
[6 empty] | 2 | 3
|  |  | float_전압 (mV) | float_전류 (mA) 부호있음 |  | 4 | 5
|  |  | float_용량 (mAh) 부호있음 | float_출력 (mW) 부호있음 |  | 6 | 7
|  |  | float_Energy (mWh) 부호있음 | float_Step 진행 시간 (s) |  | 8 | 9
|  |  | float_총 누적 시간 (s) | float_Imp (mOhm) |  | 10 | 11
|  |  | float_온도 (oC) |  |  | 12 | 13
|  |  | float_평균전압 (mV) | float_평균전류 (mA) 부호있음 |  | 14 | 15
[6 empty] | 16 | 17
|  |  |  | float_충전용량 (mAh) |  | 18 | 19
|  |  | float_방전용량 (mAh) | float_충전Energy (Wh) |  | 20 | 21
|  |  | float_방전Energy (Wh) | float_CV 시간 (s) |  | 22 | 23
[6 empty] | 24 | 25
|  |  | 25도 | CV 관련 |  | 26 | 27
|  |  | CV 관련 | float_방전용량 (mAh) |  | 28 | 29
[6 empty] | 30 | 31
[6 empty] | 32 | 33
[6 empty] | 34 | 35
|  |  |  | 칠러 온도? |  | 36 | 37
|  |  | 히터 온도? | 날짜 |  | 38 | 39
|  |  |  | 25도 |  | 40 | 41
|  |  | 999 | 999 |  | 42 | 43
|  |  | 999 | 999 |  | 44 | 45
헤더 228 * 4 바이트
CTS:

## CTS(20240905)
헤더 (912 byte) |  | 예시
버전 업데이트 날짜 (추정) | ? | 20240905 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 3.3048e-38
파일 생성 시각 (31번은 비어있음) |  | 2025-02-21 16:41:14.538 |  |  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 5.7453e-42
[5 empty] | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 |  | 6.638e-07
[5 empty] | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | 1.0243e-11
[5 empty] | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 |  | 2.3314e-09
[5 empty] | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 |  | 0.00017188
[5 empty] | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 |  | 4.0061e-11
[5 empty] | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 |  | 4.7942e-39
[5 empty] | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 |  | 0
[5 empty] | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 |  | 0
[5 empty] | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 |  | 0
[5 empty] | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 |  | 0
[5 empty] | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 |  | 0
[5 empty] | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 |  | 0
[5 empty] | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 |  | 0
[5 empty] | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 |  | 0
[5 empty] | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 |  | 0
[5 empty] | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 |  | 0
[5 empty] | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 |  | 1.6712e-19
[5 empty] | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 |  | 1.1e+27
[5 empty] | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 |  | 1.2712e+31
[5 empty] | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 |  | 2.0362e-19
[5 empty] | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 |  | 1.9349e-19
[5 empty] | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 |  | 2.8175e+20
[5 empty] | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 |  | 1.1286e+27
[5 empty] | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 |  | 1.6643e-41
[5 empty] | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 |  | 0
[5 empty] | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 |  | 0
[5 empty] | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 |  | 0
[5 empty] | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 |  | 0
[5 empty] | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 |  | 0
[5 empty] | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 |  | 0
[5 empty] | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263 |  | 0
[5 empty] | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 |  | 0
[5 empty] | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 |  | 0
[5 empty] | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287 |  | 0 | 928
[5 empty] | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 |  | 0
[5 empty] | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303 |  | 0
[5 empty] | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 |  | 0
[5 empty] | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319 |  | 0
[5 empty] | 320 | 321 | 322 | 323 | 324 | 325 | 326 | 327 |  | 0
시험 시작 시각 (마지막 바이트는 비어있음) |  | 2025-02-21 16:40:33.844 |  |  | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335 |  | 0
[5 empty] | 336 | 337 | 338 | 339 | 340 | 341 | 342 | 343 |  | 0
[5 empty] | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351 |  | 0
[5 empty] | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359 |  | 0
[5 empty] | 360 | 361 | 362 | 363 | 364 | 365 | 366 | 367 |  | 0
[5 empty] | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375 |  | 0
[5 empty] | 376 | 377 | 378 | 379 | 380 | 381 | 382 | 383 |  | 0
[5 empty] | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391 |  | 0
시험 완료 시각 (마지막 바이트는 비어있음) |  | 2025-02-27 08:49:39.272 |  |  | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399 |  | 0
[5 empty] | 400 | 401 | 402 | 403 | 404 | 405 | 406 | 407 |  | 0
[5 empty] | 408 | 409 | 410 | 411 | 412 | 413 | 414 | 415 |  | 0
[5 empty] | 416 | 417 | 418 | 419 | 420 | 421 | 422 | 423 |  | 0
[5 empty] | 424 | 425 | 426 | 427 | 428 | 429 | 430 | 431 |  | 0
[5 empty] | 432 | 433 | 434 | 435 | 436 | 437 | 438 | 439 |  | 0
[5 empty] | 440 | 441 | 442 | 443 | 444 | 445 | 446 | 447 |  | 0
[5 empty] | 448 | 449 | 450 | 451 | 452 | 453 | 454 | 455 |  | 0
? |  | RCL5D10858 |  |  | 456 | 457 | 458 | 459 | 460 | 461 | 462 | 463 |  | 0
[5 empty] | 464 | 465 | 466 | 467 | 468 | 469 | 470 | 471 |  | 0
[5 empty] | 472 | 473 | 474 | 475 | 476 | 477 | 478 | 479 |  | 0
[5 empty] | 480 | 481 | 482 | 483 | 484 | 485 | 486 | 487 |  | 0
[5 empty] | 488 | 489 | 490 | 491 | 492 | 493 | 494 | 495 |  | 0
[5 empty] | 496 | 497 | 498 | 499 | 500 | 501 | 502 | 503 |  | 0
[5 empty] | 504 | 505 | 506 | 507 | 508 | 509 | 510 | 511 |  | 0
[5 empty] | 512 | 513 | 514 | 515 | 516 | 517 | 518 | 519 |  | 0
[5 empty] | 520 | 521 | 522 | 523 | 524 | 525 | 526 | 527 |  | 0
[5 empty] | 528 | 529 | 530 | 531 | 532 | 533 | 534 | 535 |  | 0
[5 empty] | 536 | 537 | 538 | 539 | 540 | 541 | 542 | 543 |  | 0
[5 empty] | 544 | 545 | 546 | 547 | 548 | 549 | 550 | 551 |  | 0
[5 empty] | 552 | 553 | 554 | 555 | 556 | 557 | 558 | 559 |  | 0
[5 empty] | 560 | 561 | 562 | 563 | 564 | 565 | 566 | 567 |  | 0
[5 empty] | 568 | 569 | 570 | 571 | 572 | 573 | 574 | 575 |  | 0
[5 empty] | 576 | 577 | 578 | 579 | 580 | 581 | 582 | 583 |  | 0
[5 empty] | 584 | 585 | 586 | 587 | 588 | 589 | 590 | 591 |  | 0
[5 empty] | 592 | 593 | 594 | 595 | 596 | 597 | 598 | 599 |  | 0
[5 empty] | 600 | 601 | 602 | 603 | 604 | 605 | 606 | 607 |  | 0
[5 empty] | 608 | 609 | 610 | 611 | 612 | 613 | 614 | 615 |  | 0
[5 empty] | 616 | 617 | 618 | 619 | 620 | 621 | 622 | 623 |  | 0
[5 empty] | 624 | 625 | 626 | 627 | 628 | 629 | 630 | 631 |  | 0
[5 empty] | 632 | 633 | 634 | 635 | 636 | 637 | 638 | 639 |  | 0
[5 empty] | 640 | 641 | 642 | 643 | 644 | 645 | 646 | 647 |  | 0
[5 empty] | 648 | 649 | 650 | 651 | 652 | 653 | 654 | 655 |  | 0
[5 empty] | 656 | 657 | 658 | 659 | 660 | 661 | 662 | 663 |  | 6.638e-07
[5 empty] | 664 | 665 | 666 | 667 | 668 | 669 | 670 | 671 |  | 1.0243e-11
[5 empty] | 672 | 673 | 674 | 675 | 676 | 677 | 678 | 679 |  | 2.3314e-09
장비 |  | 314-400-058 |  |  | 680 | 681 | 682 | 683 | 684 | 685 | 686 | 687 |  | 0.00017188
[5 empty] | 688 | 689 | 690 | 691 | 692 | 693 | 694 | 695 |  | 4.1652e-11
[5 empty] | 696 | 697 | 698 | 699 | 700 | 701 | 702 | 703 |  | 5.2541e-39
[5 empty] | 704 | 705 | 706 | 707 | 708 | 709 | 710 | 711 |  | 0
[5 empty] | 712 | 713 | 714 | 715 | 716 | 717 | 718 | 719 |  | 0
[5 empty] | 720 | 721 | 722 | 723 | 724 | 725 | 726 | 727 |  | 0
[5 empty] | 728 | 729 | 730 | 731 | 732 | 733 | 734 | 735 |  | 0
[5 empty] | 736 | 737 | 738 | 739 | 740 | 741 | 742 | 743 |  | 0
[5 empty] | 744 | 745 | 746 | 747 | 748 | 749 | 750 | 751 |  | 0
[5 empty] | 752 | 753 | 754 | 755 | 756 | 757 | 758 | 759 |  | 0
[5 empty] | 760 | 761 | 762 | 763 | 764 | 765 | 766 | 767 |  | 0
[5 empty] | 768 | 769 | 770 | 771 | 772 | 773 | 774 | 775 |  | 0
[5 empty] | 776 | 777 | 778 | 779 | 780 | 781 | 782 | 783 |  | 0
[5 empty] | 784 | 785 | 786 | 787 | 788 | 789 | 790 | 791 |  | 6.638e-07
[5 empty] | 792 | 793 | 794 | 795 | 796 | 797 | 798 | 799 |  | 1.0243e-11
? |  | ' $%"#&)2,-./KLMNOIJ01hijk |  |  | 800 | 801 | 802 | 803 | 804 | 805 | 806 | 807 |  | 9.3249e-09
[5 empty] | 808 | 809 | 810 | 811 | 812 | 813 | 814 | 815 |  | 6.4839e-10
[5 empty] | 816 | 817 | 818 | 819 | 820 | 821 | 822 | 823 |  | 4.0517e-11
[5 empty] | 824 | 825 | 826 | 827 | 828 | 829 | 830 | 831 |  | 4.4258e-39
[5 empty] | 832 | 833 | 834 | 835 | 836 | 837 | 838 | 839 |  | 0
[5 empty] | 840 | 841 | 842 | 843 | 844 | 845 | 846 | 847 |  | 0
[5 empty] | 848 | 849 | 850 | 851 | 852 | 853 | 854 | 855 |  | 0
[5 empty] | 856 | 857 | 858 | 859 | 860 | 861 | 862 | 863 |  | 0
[5 empty] | 864 | 865 | 866 | 867 | 868 | 869 | 870 | 871 |  | 0
[5 empty] | 872 | 873 | 874 | 875 | 876 | 877 | 878 | 879 |  | 0
[5 empty] | 880 | 881 | 882 | 883 | 884 | 885 | 886 | 887 |  | 0
[5 empty] | 888 | 889 | 890 | 891 | 892 | 893 | 894 | 895 |  | 0
[5 empty] | 896 | 897 | 898 | 899 | 900 | 901 | 902 | 903 |  | 0
[5 empty] | 904 | 905 | 906 | 907 | 908 | 909 | 910 | 911 |  | 0
1.8931e-07
StepEnd (200 byte) | [13 empty] | 6.566e-07
int | int | 50463242 | 1 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1.7293e-41
| i_누적 Index |  | 10800 |  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 0
i_Cur? | i_Tot Cyc? | 1 | 1 |  | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 |  | 0
i_Step 데이터 행 수 (CDM의 괄호 수 누적) |  | 10801 |  |  | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | 0
f_전압 (mV) | f_전류 (mA) [부호있음] | 3633.697998046875 |  |  | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 |  | 0
f_용량 (mAh) | f_출력 (mW) |  |  |  | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 |  | 0
f_WattHour (mWH) | f_step시간 (s) |  | 10800 |  | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 |  | 0
f_전체시간 (s) | f_Imp (mOhm) | 10800 |  |  | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 |  | 0
f_온도 (oC) |  | 25.100000381469727 |  |  | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 |  | 0
f_평균전압 (mV) | f_평균전류 (mA) [부호있음] |  |  |  | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 |  | 0
[5 empty] | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 |  | 0
| f_충전용량 (mAh) |  |  |  | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 |  | 0
f_방전용량 (mAh) | f_충전Energy (Wh) |  |  |  | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 |  | 0
f_방전Energy (Wh) | f_CV 시간 (s) |  |  |  | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 |  | 0
| int |  | 65536 | 1 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 |  | 0
f_설정온도? |  | 25 |  |  | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 |  | 0
[5 empty] | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 |  | 0
| int |  | 64 |  | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 |  | 0
[5 empty] | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 |  | 0
[5 empty] | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 |  | 0
| f_칠러온도? |  | 23.347000122070312 |  | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 |  | 0
f_히터온도? | f_날짜 | 34.0 | 250221.0 |  | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 |  | 0
? | ? |  | 25 |  | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 |  | 0
999 | 999 | 999 | 999 |  | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 |  | 0
999 | 999 | 999 | 999 |  | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 |  | 0
0
|  | 16909578 | 16777217 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 0; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 1 |  | 0
|  | 10801 | 20373 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 2; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 3 |  | 0
|  | 1 | 2 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 4; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 5; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest |  | 0
|  | 20374 |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 6; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 7; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 충전 | Rest | 0
|  | 4349.05712890625 | 6277.24609375 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 8; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 9; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 충전 | 0
|  | 92098.890625 | 27300.0 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 10; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 11; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 방전 | Rest | 0
|  | 368239.0 | 8703.759765625 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 12; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 13; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 방전 | 0
|  | 19503.759765625 | 1.093999981880188 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 14; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 15; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 충전 | Rest | 0
|  | 25.299999237060547 |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 16; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 17; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: iifiiiiffffffffffffffffffffffifffffiffffffffffffff; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 충전 | 0
|  | 4030.199951171875 | 38094.1015625 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 18; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 19; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: iifiiiiffffffffffiffiiifffffiifffffiffffffffffff; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 방전 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 20; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 21; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 50; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 방전 | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 22; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 23; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 충전 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 24; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 25; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 충전 | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 26; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 27; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 방전 | Rest | 0
|  |  | 131072 | 2 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 28; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 29; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 방전 | 0
|  | 25 |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 30; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 31; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 충전 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 32; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 33; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 충전 | 0
|  |  | 131072 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 34; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 35; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: 방전 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 36; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 37; 7 15 23 31 39 47 55 63 71 79 87 95 103 111 119 127 135 143 151 159 167 175 183 191 199: Rest | 방전 | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 38; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 39 | Rest | 0
|  |  | 23.347000122070312 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 40; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 41 | 패턴 | 0
|  | 34.0 | 250221.0 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 42; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 43 | 패턴 | 0
|  |  | 25 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 44; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 45 | 방전 | 0
|  | 999 | 999 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 46; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 47 | Rest | 0
|  | 999 | 999 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 48; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 49 | 충전 | 0
[13 empty] | Rest | 0
int | int | 50464266 | 1 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 0; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 1 | 방전 | 0
| i_누적 Index | 20374 | 31207 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 2; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 3 | Rest | 0
i_Cur? | i_Tot Cyc? | 1 | 2 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 4; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 5 | 충전 | 1.1216e-11
i_Step 데이터 행 수 (CDM의 괄호 수 누적) |  | 31208 |  |  | 6 | 7 |  | Rest | 50464266 | 1 |  |  | Rest | 1.0015e-11
f_전압 (mV) | f_전류 (mA) |  |  |  | 8 | 9 |  | 충전 | 16909578 | 16777217 |  |  | 충전 | 1.0548e-08
f_용량 (mAh) | f_출력 (mW) |  |  |  | 10 | 11 |  | Rest | 50464266 | 1 |  |  | Rest | 0
f_WattHour (mWH) | f_step시간 (s) |  |  |  | 12 | 13 |  | 방전 | 33687306 | 33554433 |  |  | 방전 | 0
f_전체시간 (s) | f_Imp (mOhm) |  |  |  | 14 | 15 |  | Pattern | 151129866 | 1 |  |  | Rest | 0
f_온도 (oC) |  |  |  |  | 16 | 17 |  | 완료 | 100812810 | 1 |  |  | 충전 | 0
f_평균전압 (mV) | f_평균전류 (mA) |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 18; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 19 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 20; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 21 | 방전 | 0
| f_충전용량 (mAh) |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 22; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 23 | Rest | 0
f_방전용량 (mAh) | f_충전Energy (Wh) |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 24; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 25 | 충전 | 0
f_방전Energy (Wh) | f_CV 시간 (s) |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 26; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 27 | Rest | 0
| int |  | 131072 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 28; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 29 | 충전 | 0
f_설정온도? |  |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 30; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 31 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 32; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 33; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 방전 | 0
| int |  | 64 |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 34; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 35; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 충전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 | Rest | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 36; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 37; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 0
[5 empty] | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 38; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 39; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 방전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 0
| f_칠러온도? |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 40; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 41; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 방전 | 0
f_히터온도? | f_날짜 |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 42; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 43; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 충전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 | Rest | 0
? | ? |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 44; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 45; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 0
999 | 999 |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 46; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 47; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 방전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 0
999 | 999 |  |  |  | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 48; 1 9 17 25 33 41 49 57 65 73 81 89 97 105 113 121 129 137 145 153 161 169 177 185 193: 49; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 0
[13 empty] | Rest | 0 | bar: 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195 to 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
int | int | 33687306 | 33554433 | 0 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 1; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 0
| i_누적 Index | 31208 | 43670 | 2 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 3; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 방전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 0
i_Cur? | i_Tot Cyc? | 1 | 2 | 4 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 5; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 방전 | 0
i_Step 데이터 행 수 (CDM의 괄호 수 누적) |  | 43671 |  | 6 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 7; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 충전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 | Rest | 0
f_전압 (mV) | f_전류 (mA) [부호있음] | 2499.9961 | -41864.6562 | 8 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 9; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 0
f_용량 (mAh) | f_출력 (mW) | 127812.4453 | 104661 | 10 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 11; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: 방전; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 0
f_WattHour (mWH) | f_step시간 (s) | 474932 | 10990.4199 | 12 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 13; 3 11 19 27 35 43 51 59 67 75 83 91 99 107 115 123 131 139 147 155 163 171 179 187 195: Rest; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 방전 | 0
f_전체시간 (s) | f_Imp (mOhm) | 41294.1797 | 1.122 | 14 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 15; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 패턴 | Rest | 0
f_온도 (oC) |  | 26 |  | 16 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 17; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 패턴 | 충전 | 3.7835e-44
f_평균전압 (mV) | f_평균전류 (mA) | 3716.2 | -41866.3984 | 18 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 19; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 1.8367e-40
|  |  |  | 20 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 21; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 방전 | 9.1836e-40
| f_충전용량 (mAh) |  |  | 22 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 23; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 | Rest | 5.5103e-40
f_방전용량 (mAh) | f_충전Energy (Wh) | 127812.4453 |  | 24 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 25; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 충전 | 3.6735e-40
f_방전Energy (Wh) | f_CV 시간 (s) | 474.932 |  | 26 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 27; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 | Rest | 1.1939e-39
| int |  | 131072 | 28 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 29; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest | 완료 | 2.1123e-39
f_설정온도? |  |  |  | 30 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 31; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 |  | 3.398e-39
| f_방전용량 (mAh) |  | 127812.4453 | 32 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 33; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 2.4796e-39
| int |  | 65 | 34 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 35; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 |  | 3.2143e-39
|  |  |  | 36 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 37; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 3.7653e-39
|  |  |  | 38 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 39; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 |  | 4.0408e-39
| f_칠러온도? |  |  | 40 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 41; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 4.2245e-39
f_히터온도? | f_날짜 |  |  | 42 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 43; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 충전 |  | 4.4082e-39
? | ? |  |  | 44 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 45; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 6.8664e-44
999 | 999 |  |  | 46 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 47; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: 방전 |  | 0
999 | 999 |  |  | 48 | 0 8 16 24 32 40 48 56 64 72 80 88 96 104 112 120 128 136 144 152 160 168 176 184 192: 49; 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 0
0 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
|  | 50464778 | 1 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 0
|  | 31208 | 43670 | [10 empty] | 0 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
|  | 1 | 2 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 0
|  | 43671 | [11 empty] | 0 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
|  | 2499.9961 | -41864.6562 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 3.8206e-37
|  | 127812.4453 | 104661 | [10 empty] | 9.0043e-41 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
|  | 474932 | 10990.4199 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 0
|  | 41294.1797 | 1.122 | [10 empty] | 2.5223e-43 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
|  | 26 |  |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 1.4013e-45
|  | 3716.2 | -41866.3984 | [10 empty] | 1.4013e-45 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
[5 empty] | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest |  | 2.5364e-43
0 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
Rest
충전
|  |  | 131072 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest
방전
Rest
64 | bar: 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196
Rest
방전
Rest
충전
Rest
방전
Rest
충전
|  | 16909578 | 16777217 |  | 4 12 20 28 36 44 52 60 68 76 84 92 100 108 116 124 132 140 148 156 164 172 180 188 196: Rest
|  | 2 | 3
43671
|  | 2499.9961 | -41864.6562
|  | 127812.4453 | 104661
|  | 474932 | 10990.4199
|  | 41294.1797 | 1.122
26
|  | 3716.2 | -41866.3984
131072
64

## CTS(20180615)
헤더 (896 byte) |  |  | 예시
버전 업데이트 날짜 (추정) |  | ? | 20240905 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 3.3048e-38
파일 생성 시각 (31번은 비어있음) |  |  | 2025-02-21 16:41:14.538 |  |  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 5.7453e-42
[6 empty] | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 6.638e-07
[6 empty] | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1.0243e-11
[6 empty] | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 2.3314e-09
[6 empty] | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 0.00017188
[6 empty] | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 4.0061e-11
[6 empty] | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 4.7942e-39
[6 empty] | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 0
[6 empty] | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 0
[6 empty] | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 0
[6 empty] | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 0
[6 empty] | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 0
[6 empty] | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 0
[6 empty] | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 0
[6 empty] | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 0
[6 empty] | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 0
[6 empty] | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 0
[6 empty] | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 1.6712e-19
[6 empty] | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 1.1e+27
[6 empty] | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 1.2712e+31
[6 empty] | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 2.0362e-19
[6 empty] | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 1.9349e-19
[6 empty] | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 2.8175e+20
[6 empty] | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 1.1286e+27
[6 empty] | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 1.6643e-41
[6 empty] | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 0
[6 empty] | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 0
[6 empty] | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 0
[6 empty] | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 0
[6 empty] | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 0
[6 empty] | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 | 0 |  | 488
[6 empty] | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263 | 0
[6 empty] | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 | 0
[6 empty] | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 | 0
[6 empty] | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287 | 0 | 928
[6 empty] | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 | 0
[6 empty] | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303 | 0
[6 empty] | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 | 0
[6 empty] | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319 | 0
[6 empty] | 320 | 321 | 322 | 323 | 324 | 325 | 326 | 327 | 0
시험 시작 시각 (마지막 바이트는 비어있음) |  |  | 2025-02-21 16:40:33.844 |  |  | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335 | 0
[6 empty] | 336 | 337 | 338 | 339 | 340 | 341 | 342 | 343 | 0
[6 empty] | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351 | 0
[6 empty] | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359 | 0
[6 empty] | 360 | 361 | 362 | 363 | 364 | 365 | 366 | 367 | 0
[6 empty] | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375 | 0
[6 empty] | 376 | 377 | 378 | 379 | 380 | 381 | 382 | 383 | 0
[6 empty] | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391 | 0
시험 완료 시각 (마지막 바이트는 비어있음) |  |  | 2025-02-27 08:49:39.272 |  |  | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399 | 0
[6 empty] | 400 | 401 | 402 | 403 | 404 | 405 | 406 | 407 | 0
[6 empty] | 408 | 409 | 410 | 411 | 412 | 413 | 414 | 415 | 0
[6 empty] | 416 | 417 | 418 | 419 | 420 | 421 | 422 | 423 | 0
[6 empty] | 424 | 425 | 426 | 427 | 428 | 429 | 430 | 431 | 0
[6 empty] | 432 | 433 | 434 | 435 | 436 | 437 | 438 | 439 | 0
[6 empty] | 440 | 441 | 442 | 443 | 444 | 445 | 446 | 447 | 0
[6 empty] | 448 | 449 | 450 | 451 | 452 | 453 | 454 | 455 | 0
? |  |  | RCL5D10858 |  |  | 456 | 457 | 458 | 459 | 460 | 461 | 462 | 463 | 0
[6 empty] | 464 | 465 | 466 | 467 | 468 | 469 | 470 | 471 | 0
[6 empty] | 472 | 473 | 474 | 475 | 476 | 477 | 478 | 479 | 0
[6 empty] | 480 | 481 | 482 | 483 | 484 | 485 | 486 | 487 | 0
[6 empty] | 488 | 489 | 490 | 491 | 492 | 493 | 494 | 495 | 0
[6 empty] | 496 | 497 | 498 | 499 | 500 | 501 | 502 | 503 | 0
[6 empty] | 504 | 505 | 506 | 507 | 508 | 509 | 510 | 511 | 0
[6 empty] | 512 | 513 | 514 | 515 | 516 | 517 | 518 | 519 | 0
[6 empty] | 520 | 521 | 522 | 523 | 524 | 525 | 526 | 527 | 0
[6 empty] | 528 | 529 | 530 | 531 | 532 | 533 | 534 | 535 | 0
[6 empty] | 536 | 537 | 538 | 539 | 540 | 541 | 542 | 543 | 0
[6 empty] | 544 | 545 | 546 | 547 | 548 | 549 | 550 | 551 | 0
[6 empty] | 552 | 553 | 554 | 555 | 556 | 557 | 558 | 559 | 0
[6 empty] | 560 | 561 | 562 | 563 | 564 | 565 | 566 | 567 | 0
[6 empty] | 568 | 569 | 570 | 571 | 572 | 573 | 574 | 575 | 0
[6 empty] | 576 | 577 | 578 | 579 | 580 | 581 | 582 | 583 | 0
[6 empty] | 584 | 585 | 586 | 587 | 588 | 589 | 590 | 591 | 0
[6 empty] | 592 | 593 | 594 | 595 | 596 | 597 | 598 | 599 | 0
[6 empty] | 600 | 601 | 602 | 603 | 604 | 605 | 606 | 607 | 0
[6 empty] | 608 | 609 | 610 | 611 | 612 | 613 | 614 | 615 | 0
[6 empty] | 616 | 617 | 618 | 619 | 620 | 621 | 622 | 623 | 0
[6 empty] | 624 | 625 | 626 | 627 | 628 | 629 | 630 | 631 | 0
[6 empty] | 632 | 633 | 634 | 635 | 636 | 637 | 638 | 639 | 0
[6 empty] | 640 | 641 | 642 | 643 | 644 | 645 | 646 | 647 | 0
[6 empty] | 648 | 649 | 650 | 651 | 652 | 653 | 654 | 655 | 0
[6 empty] | 656 | 657 | 658 | 659 | 660 | 661 | 662 | 663 | 6.638e-07
[6 empty] | 664 | 665 | 666 | 667 | 668 | 669 | 670 | 671 | 1.0243e-11
[6 empty] | 672 | 673 | 674 | 675 | 676 | 677 | 678 | 679 | 2.3314e-09
장비 |  |  | 314-400-058 |  |  | 680 | 681 | 682 | 683 | 684 | 685 | 686 | 687 | 0.00017188
[6 empty] | 688 | 689 | 690 | 691 | 692 | 693 | 694 | 695 | 4.1652e-11
[6 empty] | 696 | 697 | 698 | 699 | 700 | 701 | 702 | 703 | 5.2541e-39
[6 empty] | 704 | 705 | 706 | 707 | 708 | 709 | 710 | 711 | 0
[6 empty] | 712 | 713 | 714 | 715 | 716 | 717 | 718 | 719 | 0
[6 empty] | 720 | 721 | 722 | 723 | 724 | 725 | 726 | 727 | 0
[6 empty] | 728 | 729 | 730 | 731 | 732 | 733 | 734 | 735 | 0
[6 empty] | 736 | 737 | 738 | 739 | 740 | 741 | 742 | 743 | 0
[6 empty] | 744 | 745 | 746 | 747 | 748 | 749 | 750 | 751 | 0
[6 empty] | 752 | 753 | 754 | 755 | 756 | 757 | 758 | 759 | 0
[6 empty] | 760 | 761 | 762 | 763 | 764 | 765 | 766 | 767 | 0
[6 empty] | 768 | 769 | 770 | 771 | 772 | 773 | 774 | 775 | 0
[6 empty] | 776 | 777 | 778 | 779 | 780 | 781 | 782 | 783 | 0
[6 empty] | 784 | 785 | 786 | 787 | 788 | 789 | 790 | 791 | 6.638e-07
[6 empty] | 792 | 793 | 794 | 795 | 796 | 797 | 798 | 799 | 1.0243e-11
? |  |  | ' $%"#&)2,-./KLMNOIJ01hijk |  |  | 800 | 801 | 802 | 803 | 804 | 805 | 806 | 807 | 9.3249e-09
[6 empty] | 808 | 809 | 810 | 811 | 812 | 813 | 814 | 815 | 6.4839e-10
[6 empty] | 816 | 817 | 818 | 819 | 820 | 821 | 822 | 823 | 4.0517e-11
[6 empty] | 824 | 825 | 826 | 827 | 828 | 829 | 830 | 831 | 4.4258e-39
[6 empty] | 832 | 833 | 834 | 835 | 836 | 837 | 838 | 839 | 0
[6 empty] | 840 | 841 | 842 | 843 | 844 | 845 | 846 | 847 | 0
[6 empty] | 848 | 849 | 850 | 851 | 852 | 853 | 854 | 855 | 0
[6 empty] | 856 | 857 | 858 | 859 | 860 | 861 | 862 | 863 | 0
[6 empty] | 864 | 865 | 866 | 867 | 868 | 869 | 870 | 871 | 0
[6 empty] | 872 | 873 | 874 | 875 | 876 | 877 | 878 | 879 | 0
[6 empty] | 880 | 881 | 882 | 883 | 884 | 885 | 886 | 887 | 0
[6 empty] | 888 | 889 | 890 | 891 | 892 | 893 | 894 | 895 | 0
1.8931e-07
StepEnd (172 byte) | [13 empty] | 6.566e-07
int |  | int | 50463242 | 1 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 1.7293e-41
|  | i_누적 Index |  | 10800 | 2 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 0
i_Cur? |  | i_Tot Cyc? | 1 | 1 | 4 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 0
i_Step 데이터 행 수 (CDM의 괄호 수 누적) |  |  | 10801 |  | 6 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 0
f_전압 (mV) |  | f_전류 (mA) [부호있음] | 3633.697998046875 |  | 8 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 0
f_용량 (mAh) |  | f_출력 (mW) |  |  | 10 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 0
f_WattHour (mWH) |  | f_step시간 (s) |  | 10800 | 12 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 0
f_전체시간 (s) |  | f_Imp (mOhm) | 10800 |  | 14 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 0
f_온도 (oC) |  |  | 25.100000381469727 |  | 16 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 0
f_평균전압 (mV) |  | f_평균전류 (mA) [부호있음] |  |  | 18 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 0
[5 empty] | 20 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 0
|  | f_충전용량 (mAh) |  |  | 22 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 0
f_방전용량 (mAh) |  | f_충전Energy (Wh) |  |  | 24 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 0
f_방전Energy (Wh) |  | f_CV 시간 (s) |  |  | 26 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 0
|  | int |  | 65536 | 28 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 0
f_설정온도? |  |  | 25 |  | 30 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 0
[5 empty] | 32 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 0
|  | int |  | 64 | 34 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 0
[5 empty] | 36 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 0
[5 empty] | 38 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 0
|  | f_칠러온도? |  | 23.347000122070312 | 40 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 0
f_히터온도? |  | f_날짜 | 34.0 | 250221.0 | 42 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 0
? |  | ? |  | 25 | 44 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 0
999 |  | 999 | 999 | 999 | 46 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 0
999 |  | 999 | 999 | 999 | 48 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 0
bBbbbbbbiiiiifffffffffffffbbbbbbbbbbbbffffffifffffiffffffffffffff
65

## CYC(20240905)
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
|  | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
|  | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
|  | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
|  | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63
|  | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71
|  | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79
|  | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87
|  | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95
|  | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103
|  | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111
|  | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119
|  | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127
|  | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135
|  | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143
|  | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151
|  | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159
|  | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167
|  | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175
|  | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183
|  | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191
|  | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199
|  | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207
|  | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215
|  | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223
|  | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231
|  | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239
|  | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247
|  | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255
|  | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263
|  | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271
|  | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279
|  | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287
|  | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295
|  | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303
|  | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311
|  | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319
|  | 320 | 321 | 322 | 323 | 324 | 325 | 326 | 327
|  | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335
|  | 336 | 337 | 338 | 339 | 340 | 341 | 342 | 343
|  | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351
|  | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359
|  | 360 | 361 | 362 | 363 | 364 | 365 | 366 | 367
|  | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375
|  | 376 | 377 | 378 | 379 | 380 | 381 | 382 | 383
|  | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391
|  | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399
|  | 400 | 401 | 402 | 403 | 404 | 405 | 406 | 407
|  | 408 | 409 | 410 | 411 | 412 | 413 | 414 | 415
|  | 416 | 417 | 418 | 419 | 420 | 421 | 422 | 423
f_Index | f_step 시간 (s) | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
f_CV시간 (s) |  | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
f_전압 (mV) | f_전류 (mA) [부호 있음] | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
f_누적충방전용량 (mAh) [부호있음] |  | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
f_충전용량 (mAh) | f_방전용량 (mAh) | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
f_누적 mWh [부호있음] |  | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
f_충전 Wh | f_방전 Wh | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
f_평균전류 (mA) 부호있음 | f_평균전압 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63
f_온도 (oC) |  | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71
f_출력 (mW) [부호있음] |  | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79
|  | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87
25도? |  | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95
CC 충전 용량 유사 | CV 평균전류? | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103
누적방전용량 mAh |  | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111
0.907 | 0.952 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119
CV 관련 | CV 관련 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127
CV 관련 | 칠러온도? | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135
히터 온도? | 날짜 (f_YYMMDD) | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143
| 2 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151
| 25 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159
999 | 999 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167
999 | 999 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175

## APRO
28 | 0 | 0 | 115 | 1 | 0 | 2 | 0
88 | 1 | 31 | 119 | 0 | 0 | 0 | 0
130 | 125 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
130 | 125 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 89 | 1 | 94 | 1 | 94 | 1
0 | 243 | 127 | 1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 3 | 0 | 0 | 0
휴지 | 상태코드 | 고정 | 고정 | 총 사이클 수 |  | Step No
온도 (25.6 + 0.1 * N) |  | 고정 | 고정 | 전류1(mA) | 전류2(2^8) | 전류3(2^16) | 전류4?(2^24)
전압1(mV) | 전압2(2^8) |  |  | 용량(mAh) | 용량(mAh) | 용량(mAh) | 용량(mAh)
출력 (mW) | 출력 (mW) | 출력 (mW) | 출력 (mW) | WattHour (mWh) | WattHour (mWh) | WattHour (mWh) | WattHour (mWh)
누적시간(0.01s) | 누적시간(0.01s) | 누적시간(0.01s) | 누적시간(0.01s) | 인덱스 | 인덱스 | 인덱스 | 인덱스
Cy |  |  |  | DCIR | DCIR | DCIR | DCIR
총용량 | 총용량 | 총용량 | 총용량 | 충전용량 | 충전용량 | 충전용량 | 충전용량
방전용량 | 방전용량 | 방전용량 | 방전용량 | 총 Watthour | 총 Watthour | 총 Watthour | 총 Watthour
충전 WattHour 1 | 충전 WattHour 2 | 충전 WattHour 3 | 충전 WattHour 4 | 방전 Watthour | 방전 Watthour | 방전 Watthour | 방전 Watthour
평균전압1 | 평균전압2 | 평균전압3 | 평균전압4 | 평균전류 | 평균전류 | 평균전류 | 평균전류
|  | Amb. 온도 |  | 고정 | 고정 | 고정 | 고정
충전 Flag? | 고정 | 고정 | 고정 | CV시간 (ms) | CV시간 (ms) | CV시간 (ms) | CV시간 (ms)
CV용량 1 | CV용량 2 | 고정 | 고정 | 인덱스와 유사한 값 |  | 고정 | 고정
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
56 | 57 | 58 | 59 | 60 | 61 | 62 | 63
64 | 65 | 66 | 67 | 68 | 69 | 70 | 71
72 | 73 | 74 | 75 | 76 | 77 | 78 | 79
80 | 81 | 82 | 83 | 84 | 85 | 86 | 87
88 | 89 | 90 | 91 | 92 | 93 | 94 | 95
96 | 97 | 98 | 99 | 100 | 101 | 102 | 103
Note on H16: 방전은 10^-1 곱해줘야함 방전은 255의 보수
Note on D18: 방전의 경우 255 보수
Note on H24: 방전은 10^-1 곱해줘야함 방전은 255의 보수

## Apro_분석내용
28 1 0 115 1 0 2 0 |  |  | 4 3 0 115 2 0 5 0 |  |  | 28 1 0 115 2 0 6 0 |  |  |  |  | 8 2 0 115 2 0 7 0 |  |  |  | 28 1 0 115 2 0 8 0
87 1 31 119 0 0 0 0 |  |  | 95 1 31 119 41 245 0 0 |  |  | 90 1 31 119 0 0 0 0 |  |  |  |  | 105 1 31 119 143 156 249 255 |  |  |  | 95 1 31 119 0 0 0 0
131 125 0 0 0 0 0 0 |  |  | 238 169 0 0 223 5 2 0 |  |  | 8 169 0 0 0 0 0 0 |  |  |  |  | 167 97 0 0 97 6 2 0 |  |  |  | 141 122 0 0 0 0 0 0
0 0 0 0 0 0 0 0 |  |  | 166 106 0 0 222 208 7 0 |  |  | 0 0 0 0 0 0 0 0 |  |  |  |  | 40 103 254 255 107 137 7 0 |  |  |  | 0 0 0 0 0 0 0 0
192 122 16 0 48 42 0 0 |  |  | 246 170 34 0 193 88 0 0 |  |  | 22 106 37 0 202 95 0 0 |  |  |  |  | 90 211 54 0 94 140 0 0 |  |  |  | 122 146 57 0 103 147 0 0
1 0 0 0 0 0 0 0 |  |  | 2 0 0 0 218 5 0 0 |  |  | 2 0 0 0 0 0 0 0 |  |  |  |  | 2 0 0 0 211 3 0 0 |  |  |  | 2 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 |  |  | 223 5 2 0 223 5 2 0 |  |  | 223 5 2 0 0 0 0 0 |  |  |  |  | 126 255 255 255 0 0 0 0 |  |  |  | 126 255 255 255 0 0 0 0
0 0 0 0 0 0 0 0 |  |  | 0 0 0 0 222 208 7 0 |  |  | 0 0 0 0 222 208 7 0 |  |  |  |  | 97 6 2 0 115 71 0 0 |  |  |  | 0 0 0 0 115 71 0 0
0 0 0 0 0 0 0 0 |  |  | 222 208 7 0 0 0 0 0 |  |  | 0 0 0 0 0 0 0 0 |  |  |  |  | 0 0 0 0 107 137 7 0 |  |  |  | 0 0 0 0 0 0 0 0
130 125 0 0 0 0 0 0 |  |  | 194 151 0 0 14 28 6 0 |  |  | 53 169 0 0 0 0 0 0 |  |  |  |  | 102 145 0 0 139 156 249 255 |  |  |  | 160 121 0 0 0 0 0 0
0 0 89 1 94 1 94 1 |  |  | 2 0 90 1 94 1 94 1 |  |  | 2 0 90 1 94 1 94 1 |  |  |  |  | 2 0 92 1 94 1 94 1 |  |  |  | 0 0 92 1 94 1 94 1
0 243 127 1 0 0 0 0 |  |  | 1 243 127 1 80 192 13 0 |  |  | 0 243 127 1 0 0 0 0 |  |  |  |  | 0 243 127 1 0 0 0 0 |  |  |  | 0 243 127 1 0 0 0 0
0 0 0 0 52 42 0 0 |  |  | 75 17 0 0 197 88 0 0 |  |  | 0 0 0 0 205 95 0 0 |  |  |  |  | 0 0 0 0 97 140 0 0 |  |  |  | 0 0 0 0 106 147 0 0
| 휴 |  |  | 충 |  |  | 휴 |  |  |  |  | 방 |  |  |  | 휴
|  |  |  | 10496 | 10741 |  |  | 131 | 99 | 41.869
[8 empty] | 107 | 99 | 41.867
|  | 0 | 진행중 |  |  |  |  | 87 | 99 | 41.865
|  | 1 | 시간종료 |  |  | 418691
|  | 3 | 전류종료 |  |  |  |  | 87 | 1
|  | 2 | 전압종료 |  |  |  |  | 87 | 256 | 0 | 0 | 343 | 0.095278 | 0.0039699
[8 empty] | 168 | 65024 | 16711680 | 267386880 | -284163752
[8 empty] | 152 | 156 | 249 | 255 |  | 41.866
[8 empty] | 129 | 156 | 249 | 255 |  | 41.869
[8 empty] | 184 | 156 | 249 | 255 |  | 41.863

## Sheet1
8 | 0 | 0 | 74 | 1 | 0 | 2 | 0 | Res File
fb | 0 | 0 | 0 | 96 | fa | fc | ff | START TIME=2020-12-12 14:04:49
d1 | 8a | 0 | 0 | ee | 1 | 0 | 0 | OWNER=zdf
27 | ed | fe | ff | e2 | 6 | 0 | 0 | FILE VERSION=0932
28 | 23 | 0 | 0 | 3 | 0 | 0 | 0 | CHANNEL=1
1 | 0 | f5 | 34 | 83 | 3 | 0 | 0 | CHANNEL PER MASTER=4
12 | fe | ff | ff | 0 | 0 | 0 | 0 | MASTER=4
ee | 1 | 0 | 0 | 1e | f9 | ff | ff | 채널 = (MASTER - 1) * CHANNEL PER MASTER + CHANNEL = 13
0 | 0 | 0 | 0 | e2 | 6 | 0 | 0
19 | 8b | 0 | 0 | 8e | fa | fc | ff
unKnown1 | 총Cycle/Step
온도 | 전류
전압 | 용량
Watt | WattHour |  | Fault
Time | 인덱스
Cycle + unKnown | DCIR
총용량 | 충전용량
방전용량 | 총WattHour
충전WattHour | 방전WattHour
평균전압 | 평균전류
[8 empty] | StepType | 0x08 | 방전
[9 empty] | 0x1c | 휴지 | 28
[9 empty] | 0x04 | 충전
8 | 0 | 0 | 74 | [5 empty] | 0x02 | 충전
StepType | StateCode | fault | [6 empty] | 0x05 | 충전
|  | 0 | 0 | [5 empty] | 0x0b | 방전 | 11
1 | 0 | f5 | 34
Cycle | [7 empty] | StateCode | 0x00 | 작업 중
[9 empty] | 0x02 | 전압 종료
[9 empty] | 0x01 | 시간 종료
[9 empty] | 0x03 | 전류 종료
[9 empty] | 0x04 | 용량 종료
[9 empty] | 0x6E | 강제 종료 | 110

## Sheet2
Module | Channel | StartTime | EndTime | StepNo | StepType | StateCode | StepTime | TotalTime | Voltage | Current | Capacity | Power | WattHour | Impedance | Temp | CurCycle | TotalCycle | AvgVoltage | AvgCurrent | ChargeCapacity | DischargeCapacity
4 | 1 | 2020-12-12 | 14:05 | 2021-01-27 | 22:01 | 29 | Run | Normal | 0:35 | 46d | 7:56 | 3.347 | 0 | 0 | 0 | 0 | 0 | 25.6 | 5 | 370 | 3.337 | 0 | 0 | 0
Module | 4
Channel | 1
StartTime | 2020-12-12 | 14:05
EndTime | 2021-01-27 | 22:01
StepNo | 29
StepType | Run
StateCode | Normal
StepTime | 0:35
TotalTime | 46d | 7:56
Voltage | 3.347
Current | 0
Capacity | 0
Power | 0
WattHour | 0
Impedance | 0
Temp | 25.6
CurCycle | 5
TotalCycle | 370
AvgVoltage | 3.337
AvgCurrent | 0
ChargeCapacity | 0
DischargeCapacity | 0

## Sheet5
181.8557
181.6425
181.1662
181.1223
180.634
180.1765
179.9574
179.6161
179.172
178.7975
178.6686
178.17
177.6728
177.5426
177.1889
176.7321
176.2294
176.3466
175.727
175.6896
175.3691
175.2173
174.7771
174.8466
174.4284
174.2763
173.9515
173.7944
173.5065
173.2882
172.7759
172.5994
172.3014
172.0117
171.8564
171.4958
171.39
171.0155
170.8966
170.5479
170.252
170.1449
169.7343
169.7498
169.1073
169.22
168.8853
168.5804
168.3655
168.0853
167.9485
167.6385
167.5175
167.2187
167.1707
166.8655
166.6553
166.4581
166.1882
166.2093
166.0608
165.7063
165.6825
165.3603
165.2384
164.9054
164.7901
164.351
164.2584
163.8136
163.6925
163.3656
162.9299
162.6302
162.4855
162.3022
162.1778
162.0406
161.624
161.5407
161.5925
161.0446
161.1192
160.717
160.5194
160.3968
160.1286
160.04
159.6986
159.5231
159.2564
158.9834
159.09
158.9187
158.5397
158.5505
158.3387
158.0463
158.1696
157.6846
157.5479
157.4936
157.2798
157.1035
156.8307
156.6463
156.6765
156.4948
156.177
156.221
155.8294
155.7148
155.513
155.266
154.9454
154.7337
154.6877
154.2672
153.8638
153.7923
153.6318
153.2806
153.3562
153.0798
152.8013
152.9328
152.689
152.4765
152.3204
152.254
151.8651
151.6917
151.7494
151.3673
151.2692
150.9448
150.9136
150.836
150.6842
150.468
150.2987
149.9588
149.9633
149.7943
149.578
149.4721
149.2231
149.0012
149.003
148.9667
148.6103
148.4459
148.2243
148.0743
147.9051
147.763
147.7011
147.4236
147.3675
147.2282
146.9758
146.9562
146.7842
146.5202
146.4311
146.0597
145.7704
145.6076
145.4768
145.4022
145.1292
145.0191
144.998
144.6932
144.5381
144.2507
144.0808
143.8296
143.8115
143.4839
143.5924
143.2669
143.3465
143.0423
142.7413
142.7493
142.5731
142.2314
142.2329
141.9506
141.7611
141.707
141.4023
141.3105
141.261
140.7869
140.7297
140.4294
140.3156
140.3157
140.2799
140.0408
139.7339
139.7597
139.5053
139.2826
139.3726
139.1373
138.9381
138.7925
138.7464
138.6264
138.4634
138.3311
138.2738
137.8551
137.6553
137.6351
137.3452
137.4581
137.0684
136.8292
136.7773
136.7804
136.5996
136.3106
136.4136
136.1623
135.8711
135.9728
135.7805
135.6104
135.3791
135.1157
135.1657
134.9296
134.8723
134.6436
134.4336
134.4277
134.2834
133.8983
134.0304
133.8462
133.6184
133.4467
133.4559
133.248
133.0062
132.8807
132.6933
132.49
132.3888
132.4538
132.1046
132.0506
132.0437
131.5754
131.5171
131.2799
131.2806
131.0867
130.8627
130.8247
130.6479
130.5615
130.4957
130.1814
130.2042
129.8173
129.9446
129.7171
129.6707
129.3797
129.2399
129.2099
129.0662
128.866
128.698
128.7868
128.4336
128.251
128.2962
128.2128
127.8883
127.7571
127.4986
127.3865
127.3144
127.148
127.0029
126.8563
126.72
126.6378
126.4124
126.6229
126.2654
126.2676
125.9538
125.8068
125.6815
125.4204
125.2193
125.1205
124.9547
125.0811
124.8552
124.7287
124.4904
124.413
124.1451
124.0239
124.0739
123.7622
123.636
123.5556
123.3224
123.1157
123.2802
122.9842
122.9312
122.7529
122.6706
122.5261
122.518
122.227
122.0857
121.9088
121.6571
121.7141
121.248
121.1603
121.2276
120.9712
120.8807
120.7083
120.7597
120.4579
120.4921
120.4117
120.2424
119.9241
119.8286
119.7967
119.7594
119.3231
119.3592
119.4176
118.8666
119.0239
119.1227
118.8645
118.715
118.5184
118.3881
118.4398
117.9452
117.949
117.736
117.4949
117.3689
117.4172
117.2137
117.0419
117.1011
116.7226
116.6049
116.7318
116.7154
116.4721
116.4225
116.1316
116.0819
115.9553
115.8162
115.6638
115.7077
115.477
115.59
115.1585
115.1942
115.0086
114.7506
114.6926
114.6397
114.2713
114.2475
114.0922
114.0271
113.8576
113.7914
113.7196
113.6131
113.3445
113.2533
113.1809
113.0546
112.9043
112.782
112.7939
112.5155
112.4594
112.4623
112.2274
111.9733
111.9627
111.7776
111.6977
111.5315
111.491
111.2396
111.0002
110.9817
110.9165
110.6713
110.5219
110.5364
110.2329
110.3089
110.0659
109.9167
109.8047
109.6091
109.5758
109.5168
109.4828
109.2318
109.1135
109.16
109.0131
108.991
108.6741
108.6139
108.4523
108.3569
108.2127
108.1553
108.229
107.7721
107.8042
107.8318
107.5639
107.3065
107.3064
107.1962
107.1145
106.9812
106.8489
106.862
106.7238
106.5084
106.3766
106.4592
106.2245
106.1615
105.9331
105.914
105.7945
105.7306
105.4771
105.5818
105.305
105.0831
105.0397
105.0658
104.8091
104.5905
104.6656
104.4554
104.2953
104.3404
104.14
104.0864
103.9028
103.6793
103.52
103.5108
103.5737
103.2895
103.1854
103.1895
103.0614
102.9154
102.7304
102.7397
102.538
102.3937
102.1782
102.3542
102.0167
101.8499
101.6416
101.7414
101.7724
101.6644
101.3959
101.1639
101.2062
100.9221
100.8296
100.6159
100.6306
100.627
100.4165
100.1922
100.0913
100.1168
100.0141
100.001
99.7345
99.6478
99.6034
99.5624
99.1849
99.1323
99.1117
98.9891
98.7125
98.7732
98.5728
98.4552
98.5282
98.0468
98.1768
97.8705
98.0631
97.6341
97.586
97.6947
97.3967
97.4084
97.3601
97.1375
97.0824
96.8901
96.7141
96.6869
96.8488
96.5619
96.6629
96.3734
96.2243
95.8875
95.9894
95.9888
95.7869
95.8397
95.5449
95.4277
95.2879
95.1117
95.2068
95.0862
94.7271
94.7679
94.7481
94.6
94.604
94.2716
94.1663
94.2132
93.9705
93.8902
93.7498
93.7567
93.7219
93.5377
93.2156
93.258
93.2242
93.1752
92.905
92.7741
92.6244
92.7194
92.5924
92.3345
92.343
92.3461
92.1974
92.0239
91.8738
91.7341
91.6189
91.4511
91.3544
91.2708
91.1802
91.147
91.0124
90.9033
90.8649
90.9853
90.7105
90.6577
90.3782
90.511
90.3981
90.1924
90.0075
89.9418
89.8924
89.8659
89.737
89.6285
89.4963
89.4679
89.4008
89.1514
88.9909
89.1255
88.7708
88.8743
88.5375
88.7781
88.5102
88.3699
88.3636
88.05
88.1722
88.167
87.7813
87.4925
87.6282
87.7288
87.6454
87.2479
87.3872
87.0334
87.2471
87.0979
87.0139
86.9343
86.6218
86.5856
86.5107
86.4385
86.3221
86.1128
86.323
86.0959
85.8289
85.6717
85.7753
85.788
85.713
85.519
85.5282
85.4801
85.2104
84.9917
85.0409
84.9483
84.9549
84.6481
84.6094
84.1932
84.3615
84.3964
84.215
84.273
84.0195
83.8756
83.7324
83.5541
83.4944
83.6504
83.5149
83.2798
83.4289
83.2177
82.7875
82.8721
82.8833
82.766
82.7428
82.5542
82.7029
82.3752
82.264
82.4078
82.1706
81.7769
81.8816
81.7543
81.5065
81.4991
81.5636
81.3192
81.2825
81.2374
81.0102
80.7272
80.9358
81.0163
80.8285
80.6916
80.5575
80.3944
80.2779
80.35
80.1277
79.9789
79.9217
79.8232
79.7761
79.6793
79.6494
79.3593
79.3701
79.5099
79.0964
78.9373
78.8995
79.0557
78.7731
78.7849
78.7525
78.4526
78.3564
78.3995
78.3231
78.236
77.8178
77.8604
77.9248
77.7831
77.5991
77.4789
77.5162
77.3794
77.3843
77.3686
77.2306
76.9743
76.9269
76.9716
76.9397
76.9551
76.3713
76.6621
76.5253
76.5381
76.2279
76.073
76.0586
75.8321
75.8883
75.8267
75.7448
75.6089
75.3295
75.4536
75.4772
75.3176
75.4193
75.1871
75.2392
74.8901
74.832
74.7964
74.5145
74.5706
74.5211
74.4378
74.6217
74.2267
73.9622
73.9145
74.1818
74.036
73.6726
73.7057
73.5383
73.5089
73.6257
73.3526
73.1098
73.2601
73.2995
73.0494
73.1841
73.165
72.9722
72.8135
72.5393
72.6677
72.6312
72.4036
72.5086
72.4145
72.2512
72.0736
72.0283
72.0519
71.9502
71.7697
71.7163
71.5051
71.4966
71.3903
71.4354
71.1916
70.9678
70.9304
70.9381
70.7891
70.8284
70.8052
70.7297
70.5267
70.5051
70.3935
70.2367
70.0657
70.1953
70.0478
70.1066
69.9128
69.9037
69.8537
69.7284
69.622
69.4608
69.4341
69.1406
69.3176
69.2087
69.2813
69.1978
69.079
68.97
68.8773
68.6977
68.6638
68.5238
68.6298
68.4732
68.1545
68.47
68.2143
67.971
67.9276
67.8936
67.8558
67.712
67.7445
67.6319
67.3952
67.4356
67.2524
67.1252
67.1629
67.1942
67.0953
66.898
66.8161
66.8131
66.6961
66.6151
66.3595
66.5977
66.479
66.2392
66.4155
66.1385
66.0431
65.8605
66.0284
65.9099
65.8405
65.8738
65.5162
65.5806
65.682
65.5317
65.3733
65.3394
65.2602
65.1859
65.2635
64.8603
64.7938
64.7651
64.7801
64.535
64.3852
64.4236
64.204
64.4137
64.2822
64.2847
63.9381
63.9934
64.0691
63.863
63.9041
63.7663
63.8896
63.4931
63.5086
63.3835
63.4812
63.4133
63.3006
63.223
62.9603
63.1049
63.0696
62.6867
62.5931
62.6965
62.4971
62.5154
62.5605
62.4709
62.3509
62.1592
62.2539
62.155
62.0603
62.1843
61.9358
61.8838
61.5532
61.7051
61.6507
61.4923
61.3788
61.4726
61.2531
61.2796
61.0899
61.0932
61.0336
60.7722
60.8828
60.7467
60.6365
60.7086
60.6311
60.7102
60.5999
60.4436
60.2776
60.2005
60.0869
60.133
60.0041
59.7583
59.8512
59.7679
59.5641
59.5618
59.3681
59.2555
59.4298
59.3614
59.2907
59.3199
59.1113
59.0788
58.8767
58.9159
58.8324
58.7502
58.9603
58.855
58.6544
58.506
58.3129
58.4405
58.285
58.284
58.2171
58.0803
58.1778
58.0672
57.8458
57.8205
57.7415
57.6891
57.7635
57.67
57.4006
57.5337
57.4849
57.5085
57.3782
57.3007
57.2931
57.2086
57.2853
56.9587
57.0602
57.1186
56.8672
56.8497
56.8976
56.7803
56.7004
56.4089
56.449
56.2634
56.359
56.1384
55.9359
56.0787
56.1101
55.9094
55.8729
56.0004
55.7742
55.7069
55.7113
55.378
55.6086
55.6966
55.2752
55.37
55.3293
55.1257
55.0351
54.8131
54.8215
54.9537
54.8455
54.8929
54.7929
54.6486
54.3955
54.3764
54.4451
54.4285
54.3237
54.1667
54.2475
54.0544
53.9465
53.8873
53.9722
53.9185
53.7852
53.7394
53.7351
53.7169
53.4996
53.4026
53.3366
53.2133
53.0659
52.9267
53.1575
52.9301
52.7673
52.6645
52.8147
52.8353
52.7618
52.6823
52.6261
52.4659
52.4162
52.3583
52.288
52.3057
52.1234
52.0224
52.2653
52.0282
51.9694
52.0121
51.9149
51.836
51.783
51.5878
51.5766
51.6551
51.6312
51.5564
51.5089
51.336
51.2175
51.3053
51.3219
51.1042
51.1581
51.1715
50.9589
51.0113
50.9091
50.9625
50.8854
50.6683
50.7695
50.5736
50.3083
50.4583
50.4969
50.2576
50.3334
50.1315
50.2713
50.1423
50.1056
50.0998
49.9133
49.9093
49.8148
49.7153
49.6417
49.6892
49.5384
49.5496
49.6046
49.4281
49.1622
49.1756
49.1759
49.1363
49.0211
48.9603
48.6421
48.5001
48.7888
48.7454
48.5153
48.6582
48.7889
48.7564
48.5638
48.2928
48.3202
48.1368
48.2114
48.0444
48.1253
47.9803
47.9028
47.9573
47.8767
47.6619
47.6673
47.7599
47.4448
47.4983
47.5165
47.6086
47.296
47.2101
47.2563
47.1839
47.2226
47.0916
47.1849
47.3469
47.1466
47.1692
47.0146
46.9557
47.0708
46.7693
46.7643
46.7833
46.5786
46.5712
46.4534
46.7053
46.3838
46.2889
46.2908
46.2531
46.1868
46.177
46.0413
46.0651
46.0559
45.8282
45.7744
45.9045
45.9853
45.8536
45.6498
45.7851
45.6102
45.6722
45.3499
45.3768
45.332
45.2605
45.1761
45.182
45.2568
45.0653
45.1132
44.8902
45.0033
44.7934
44.808
44.7593
44.7257
44.707
44.5839
44.635
44.4095
44.419
44.5094
44.2946
44.3939
44.3237
44.254
44.1672
44.169
44.1494
44.1178
43.9561
44.0101
43.9622
43.7234
43.5968
43.7306
43.6073
43.467
43.6889
43.6274
43.6785
43.3448
43.5407
43.4237
43.4218
43.2769
43.2307
43.0353
43.0296
43.0714
43.081
43.0545
42.8721
42.9397
42.7755
42.7285
42.7197
42.6861
42.5899
42.6279
42.5614
42.4846
42.3663
42.2111
42.147
42.14
42.1486
42.2058
42.0835
41.905
42.0573
42.0708
42.0019
41.863
41.8034
41.7014
41.8045
41.8024
41.7163
41.5443
41.6856
41.5368
41.2049
41.5739
41.4118
41.0577
41.1065
41.1211
41.1711
41.0167
40.8282
40.9185
41.0259
40.7044
40.9256
40.661
40.7744
40.716
40.6143
40.5517
40.5214
40.4132
40.4258
40.2536
40.3058
40.2482
40.075
39.9908
40.1523
40.0621
40.0335
39.7489
39.9515
39.8104
39.7466
39.9027
39.782
39.798
39.7064
39.7476
39.744
39.5808
39.3766
39.2346
39.3236
39.2685
39.2131
38.9139
39.1591
39.0493
39.0189
38.9697
38.7778
38.671
38.759
38.6028
38.6758
38.8073
38.6189
38.6552
38.6378
38.5882
38.6934
38.5459
38.6407
38.5017
38.4471
38.332
38.2118
38.2397
38.4021
38.1536
38.0665
38.0238
37.9354
38.0082
38.1614
38.0103
37.8833
37.8172
37.8156
37.7387
37.6811
37.4941
37.4359
37.5991
37.3955
37.4324
37.2817
37.2351
37.2234
37.2775
37.2772
37.3646
37.0512
36.9704
37.0996
37.07
37.0786
36.8422
36.9759
37.1456
37.0674
36.9749
36.8342
36.5852
36.7079
36.5276
36.6703
36.5604
36.4109
36.2715
36.2555
36.3
36.2501
36.1145
36.0555
36.1652
36.2595
36.2788
36.1298
36.128
36.0264
35.9755
35.7785
35.8681
35.8593
35.7826
35.8642
35.8938
35.6119
35.4524
35.5843
35.631
35.3829
35.413
35.2021
35.1523
35.3238
35.2031
35.0812
35.1624
35.0521
35.1609
35.1168
34.8786
34.7162
34.9229
35.0364
34.7907
34.863
34.8897
34.9232
34.5983
34.6745
34.9043
34.8146
34.5592
34.6141
34.717
34.5711
34.4102
34.2476
34.2477
34.4209
34.425
34.1771
34.2659
33.9213
34.1201
33.9744
34.0727
34.1372
33.9705
34.1259
34.0921
33.7898
33.9754
33.7915
33.8829
33.7099
33.7175
33.6275
33.7182
33.7336
33.4557
33.325
33.3487
33.469
33.3304
33.4479
33.2793
33.2208
33.2028
32.9222
32.8705
33.0041
32.9552
32.7888
32.6269
32.7848
32.9013
32.6811
32.7975
32.6045
32.7682
32.6629
32.631
32.3452
32.3611
32.6002
32.5316
32.5021
32.4654
32.3403
32.3351
32.2992
32.1581
32.2386
32.3908
32.2115
32.075
31.9964
31.8165
32.0128
31.9448
31.848
31.7657
31.8578
31.9032
31.7231
31.7571
31.8019
31.6183
31.358
31.3219
31.2722
31.3426
31.4544
31.3738
31.2705
31.3744
31.3291
31.1657
31.2196
31.1388
31.0934
31.1025
30.8903
31.0728
31.1928
31.0245
30.9056
30.8301
30.7337
30.9072
30.8207
30.8758
30.7062
30.6382
30.5506
30.4463
30.5726
30.6399
30.6241
30.3998
30.6356
30.4903
30.582
30.5823
30.5103
30.3316
30.2555
30.1191
30.231
30.26
30.0824
30.1149
29.9555
30.1821
30.0464
30.0236
30.0017
30.0872
30.173
30.1163
30.0503
29.9327
30.1352
29.8466
29.8499
29.7023
29.5842
29.4848
29.4355
29.4784
29.2706
29.4785
29.3655
29.6317
29.2747
29.3868
29.2902
29.3136
29.3391
29.2248
28.9938
29.0917
29.1602
29.0381
29.0672
29.0733
28.9038
29.0054
28.8916
28.7773
28.7868
28.7873
28.8506
28.7199
28.7515
28.8211
28.5796
28.5506
28.662
28.7061
28.5976
28.5618
28.4789
28.5647 | 0
28.4583 | -1.9902
28.6317 | -0.524
28.6681 | -7.9144
28.4911 | 0.1778
28.3948 | -7.0152
28.2595 | -4.2447
28.256 | -8.7269
28.229 | -0.5246
28.1117 | -6.5338
28.1372 | -0.5246
28.0228 | 28.0401
27.9393 | 2.6101
27.9483 | -38.9262
27.9957 | -11.6037
27.8567 | -6.341
27.8681 | 26.262
27.8766 | -0.526
28.0187 | -50.6204
27.796 | -0.8942
27.9986 | -26.6517
27.9751 | -14.8079
27.7804 | -5.5343
27.6675 | 45.5496
27.8013 | -9.7246
27.7335 | -29.7971
27.7907 | -51.4932
27.5754 | -63.3645
27.5448 | -35.4906
27.5012 | 28.1404
27.5032 | -0.5472
27.5383 | -2.0142
27.4733 | -0.5304
27.3001 | -7.8428
0.1756
-7.045
-4.304
-8.7886
-0.5296
-5.7663
-0.5291
28.7184
2.7103
-39.3543
-11.7401
-6.3603
27.1473
-24.6729
-24.7217
-24.7479
-24.7707
-24.7923
-24.8111
-24.8325
-24.8523
-24.8754
-24.8912
-24.9131
-24.9312
-24.9566
-24.9731
-24.9945
-25.016
-25.0354
-25.0576
-25.0785
-25.1022
-25.1243
-25.1454
-25.1693
-25.1919
-25.2162
-25.2404
-25.267
-25.2903
-25.3107
-25.3365
-25.3618
-25.3886
-25.4107
-25.4355
-25.4619
-25.4882
-25.513
-25.54